 Status of ICT and Internet Connectivity
Prepared by: Dave Borja

---
Calabanga
Overview of Campus ICT Infrastructure
L.H.S
Fisheries
Science
Library
Education
I.C.T
CHDC
2nd flr
G. flr
CoE Faculty
Fiber optic cable
CoED
Guard House
Fiber optic Redundant
Cat 6A Backbone
Fiber optic cable
R.O.C.O
Cat 6A Access point
 Access point
 Data Cabinet
Supply
Fiber optic cable
Canteen
Hostel
Trade
Admin
Automotive
CIT computer
Fiber optic cable
Fiber optic cable
Fiber optic cable
Multi Media
B.A.C
Multi Purpose
Social Hall

---
Calabanga
L.H.S
Fisheries
Science
Library
Education
I.C.T
CHDC
2nd flr
G. flr
CoE Faculty
Fiber optic cable
CoED
Guard House
Fiber optic Redundant
Cat 6A Backbone
Fiber optic cable
R.O.C.O
Cat 6A Access point
 Access point
 Data Cabinet
Supply
Fiber optic cable
Canteen
Hostel
Trade
Admin
Automotive
CIT computer
Fiber optic cable
Fiber optic cable
Fiber optic cable
Multi Media
B.A.C
Multi Purpose
Social Hall

---
Current Internet Connectivity
- ISP: PLDT
- Current bandwidth: 80Mbps /100Mbps]
- Connection type: Fiber, leased line.
- Monthly cost:
- Recent upgrades or changes in ISP

---
Recent Network Performance
- Uptime: [Percentage of time network was online]
- Downtime incidents: [List any major outages or slowdowns]
- Average speeds and latency: [Insert stats if available]
- Network load statistics (peak usage times, heavy bandwidth users)

---
Current Challenges and Issues
- Areas with poor Wi-Fi connectivity
- Slow internet speeds during peak hours
- Bams
  - Biometric Scanning Errors
  - Data Sync Problems
  - System Downtime
- Aging equipment in need of upgrades
- Limited IT staff to handle network issues

---
Plans for Improvement
- Upgrading hardware: New routers, switches, etc.
- Increasing bandwidth from ISP or add new ISP
- Expanding Wi-Fi coverage to remote areas of the campus
- Hiring additional IT personnel
- Regular network maintenance schedule

---
Recommendations for the Future
- Partner with a new ISP for better service
- Invest in ICT training for staff and faculty
- Consider creating a dedicated budget for continuous ICT improvements
- Encourage students and staff to report connectivity issues

---
 Thank U